## THR Standard
Size | Type | Item Nr. | Description | QTY
Standard |  |  |  | Standard
| Stems | 01.11.25 | Stem 8 mm x-small w 3 screws, T10
0 |  | 01.11.21 | Stem 8 mm small w 3 screws, T10
|  | 01.11.22 | Stem 8 mm medium w 4 screws, T10
|  | 01.11.23 | Stem 8 mm large w 4 screws, T10
| Peg Cap | 01.25.01 | Peg Ø16 mm for 8 mm stem
| Stem Screws | 01.35.12 | Screw ø3.4 mm / L 12 mm monocortical stem, T10
|  | 01.35.25 | Screw Ø3.4 mm L 25 mm bicortical stem, T10
|  | 01.35.30 | Screw Ø3.4 mm L 30 mm bicortical stem, T10
|  | 01.35.35 | Screw ø3.4 mm / L 35 mm bicortical stem, T10
|  | 01.35.40 | Screw ø3.4 mm / L 40 mm bicortical stem, T10
| Stem Screws | 01.36.14 | Screw Ø3.4 mm L 14 mm monocortical stem, T10, long nose
| long threaded | 01.36.27 | Screw Ø3.4 mm L 27 mm bicortical stem, T10, long nose
|  | 01.36.32 | Screw Ø3.4 mm L 32 mm bicortical stem, T10, long nose
|  | 01.36.37 | Screw Ø3.4 mm L 37 mm bicortical stem, T10, long nose
|  | 01.36.42 | Screw Ø3.4 mm L 42 mm bicortical stem, T10, long nose
| Head | 01.26.12 | Mini Ceramic head Ø12 mm for 5 & 6 & 8 mm mini stem
|  | 01.26.16 | Ceramic head Ø16 mm for 6 & 8 mm stem
|  | 01.26.19 | Ceramic head Ø19 mm for 8 & 9 mm stem
| Necks | 01.20.30 | Neck x-short for 8 mm stem, 16 & 19 mm head
|  | 01.20.31 | Neck short for 8 mm stem, 16 & 19 mm head
|  | 01.20.32 | Neck medium for 8 mm stem, 16 & 19 mm head
|  | 01.20.33 | Neck long for 8 mm stem, 16 & 19 mm head
|  | 01.20.34 | Neck x-long for 8 mm stem, 16 & 19 mm head
|  | 01.21.30 | Neck x-short for 8 mm stem, 12 mm ceramic head
|  | 01.21.31 | Neck short for 8 mm stem, 12 mm ceramic head
|  | 01.21.32 | Neck medium for 8 mm stem, 12 mm ceramic head
|  | 01.21.33 | Neck long for 8 mm stem, 12 mm ceramic head
| Cups | 01.31.20 | Cup Ø21.5 mm / Ø16 mm xx-small double shell
|  | 01.31.21 | Cup Ø23.5 mm / Ø16 mm x-small double shell
|  | 01.31.25 | Cup Ø26.5 mm / Ø19 mm small double shell
|  | 01.31.23 | Cup Ø29.5 mm / Ø19 mm medium double shell
|  | 01.31.24 | Cup Ø32.5 mm / Ø19 mm large double shell
Standard | Total (Standard) |  |  | 0
Dual Mobility |  |  |  | Dual Mobility
#REF! | Head | 01.31.60 | Dual mobility PEEK liner/head / Ø19 mm
| Cups | 01.31.43 | Dual mobility cup Ø29.5 mm / medium double shell
|  | 01.31.44 | Dual mobility cup Ø32.5 mm large double shell
| Revision Cups | 01.31.31 | Cup REVISION Ø23.5 mm / Ø16 mm x-small double shell
|  | 01.31.35 | Cup REVISION Ø26.5 mm / Ø19 mm small double shell
|  | 01.31.33 | Cup REVISION Ø29.5 mm / Ø19 mm medium double shell
|  | 01.31.34 | Cup REVISION Ø32.5 mm / Ø19 mm large double shell
| Dual Mobility | 01.31.53 | Dual mobility cup, REVISION Ø29.5 mm / medium double shell
|  | 01.31.54 | Dual mobility cup, REVISION Ø32.5 mm / large double shell
| Screws | 41.20.08 | Cortical Specialty Screw Ø2 mm L 8 mm T8
|  | 41.20.10 | Cortical Specialty Screw Ø2 mm L 10 mm T8
|  | 41.20.12 | Cortical Specialty Screw Ø2 mm L 12 mm T8
|  | 41.20.14 | Cortical Specialty Screw Ø2 mm L 14 mm T8
|  | 41.20.16 | Cortical Specialty Screw Ø2 mm L 16 mm T8
|  | 41.20.18 | Cortical Specialty Screw Ø2 mm L 18 mm T8
|  | 41.20.20 | Cortical Specialty Screw Ø2 mm L 20 mm T8
Dual Mobility | Total (Dual Mobility) |  |  | 0
Cupless |  |  |  | Cupless
| Cupless Heads | 31.30.02 | Cupless Flat head Ø22 mm
0 |  | 31.30.03 | Cupless Flat head Ø24 mm
0 |  | 31.30.04 | Cupless Flat head Ø26 mm
0 |  | 31.30.05 | Cupless Flat head Ø28 mm
0 |  | 31.30.06 | Cupless Flat head Ø30 mm
0 |  | 31.30.07 | Cupless Flat head Ø32 mm
Cupless | Total (Cupless) |  |  | 0
Instruments |  |  |  | Instruments
| Stem Reamers | 02.10.01 | Drill bit ø6.0 mm / L 195/170 mm 3 lipped, quick coupling
0 |  | 02.10.02 | Stem reamer Ø8.2 mm L 225 mm 90 mm
0 |  | 02.10.03 | Stem broach / L 225/90 mm medium quick coupling
0 |  | 02.10.04 | Stem broach / L 225/90 mm large quick coupling
0 |  | 02.10.05 | T-handle large quick coupling
|  | 02.10.06 | Adapter Ø6 mm quick coupling -to large T-handle
| Gold Cup Reamers | 02.10.160 | Cup reamer shaft / for reamers 02.14.xx quick coupling
|  | 02.14.16 | Mini Spherical cup reamer Ø16 mm by machine
|  | 02.14.18 | Mini Spherical cup reamer Ø18 mm by machine
|  | 02.14.20 | Mini Spherical cup reamer Ø20 mm by machine
|  | 02.14.21 | Spherical cup reamer ø21 mm / by machine
|  | 02.14.22 | Spherical cup reamer ø22 mm / by machine
|  | 02.14.23 | Spherical cup reamer ø23 mm / by machine
|  | 02.14.24 | Spherical cup reamer ø24 mm / by machine
|  | 02.14.26 | Spherical cup reamer ø26 mm / by machine
|  | 02.14.28 | Spherical cup reamer ø28 mm / by machine
|  | 02.14.29 | Spherical cup reamer ø29 mm / by machine
|  | 02.14.30 | Spherical cup reamer ø30 mm / by machine
|  | 02.14.32 | Spherical cup reamer ø32 mm / by machine
|  | 02.14.34 | Spherical cup reamer ø34 mm / by machine
|  | 02.15.00 | Spherical hand reamer shaft / for 02.14.xx hand finishing
| Stem Drill Guide | 02.20.01 | Stem drill guide / 8 mm stem
|  | 02.20.01A | Screw for stem drill guide 8 & 9 mm
|  | 02.20.24 | Alignment pin 8 mm stem
|  | 02.20.02 | Drill bit ø4.5 mm / L 145/120mm quick coupling, 3 lipped/flat end
|  | 02.20.03 | Drill bit Ø3 mm L 145 mm 120 mm
|  | 02.20.04 | Drill bit ø2.5 mm / L 145/120mm quick coupling, 3 lipped
|  | 02.20.11 | Drill stop ø4.5 mm / 8 mm stem
|  | 02.20.12 | Drill stop Ø3 mm
|  | 06.15.05 | Drill stop Ø2.5 mm
|  | 02.20.05 | Drillsleeve Ø4.5 mm 8/9 mm stem for lateral cortex drilling
|  | 02.20.06 | Drillsleeve Ø3 mm / 8 mm stem for medial cortex drilling
|  | 02.20.07 | Drill sleeve ø2.5 mm / 8 mm stem for acetabulum
|  | 02.20.19 | Screw driver / T10
|  | 06.60.11 | Screw retaining sleeve
| Impactors | 02.30.01 | Impactor shaft / Ø16 mm & 19 mm cup
|  | 02.30.06 | Orientation pins Ø5 mm for impactor, set of two
|  | 02.30.03 | Impactor Ø16 mm cup ball
|  | 02.30.13 | Impactor Ø19 mm cup flat shoulder
|  | 02.30.14 | Impactor Ø19 mm cup ball
|  | 02.30.15 | Impactor Ø16 mm cup flat shoulder
|  | 02.30.04 | Impactor femoral head adapter
|  | 02.30.05 | Impactor / pointed head
|  | 02.31.01 | Revision Impactor / 23 mm cup
|  | 02.31.02 | Revision Impactor / 26 mm cup
|  | 02.31.03 | Revision Impactor / 29 mm cup
|  | 02.31.04 | Revision Impactor / 32 mm cup
|  | 02.31.33 | Impactor 29 mm cup dual mobility
|  | 02.31.34 | Impactor 32 mm cup dual mobility
| Trial Implants | 02.80.05 | Trial stem / x-small
|  | 02.80.01 | Trial stem / small
|  | 02.80.02 | Trial stem / medium
|  | 02.80.03 | Trial stem / large
|  | 02.80.06 | Handle for trial stems, w screw
|  | 02.80.08 | Calcar support / for trial stems & necks
|  | 02.80.10 | Trial head-neck Ø16 mm / x-short
|  | 02.80.11 | Trial head-neck Ø16 mm / short plus screw
|  | 02.80.12 | Trial head-neck Ø16 mm / medium plus screw
|  | 02.80.13 | Trial head-neck Ø16 mm / long plus screw
|  | 02.80.14 | Trial head-neck Ø16 mm / x-long plus screw
|  | 02.80.15 | Trial head-neck Ø19 mm / short plus screw
|  | 02.80.16 | Trial head-neck Ø19 mm / medium plus screw
|  | 02.80.17 | Trial head-neck Ø19 mm / long plus screw
|  | 02.80.18 | Trial head-neck Ø19 mm / x-long plus screw
|  | 02.81.21 | Trial cup Ø21.5 mm / sphere
|  | 02.81.23 | Trial cup Ø23.5 mm / sphere
|  | 02.81.26 | Trial cup Ø26.5 mm / sphere
|  | 02.81.29 | Trial cup Ø29.5 mm / sphere
|  | 02.81.32 | Trial cup Ø32.5 mm / sphere
| Rasps | 02.30.25 | Putti rasp dbl-end
|  | 02.30.26 | Gallaher rasp straight
|  | 02.30.27 | Gallaher rasp curved
| Auxilaries | 04.20.05 | Depth gauge large ø2.7 to ø4.0 mm
|  | 02.20.14 | Adapter / standard chuck -to- AO quick coupling
|  | 02.30.07 | Hammer
|  | 02.30.08 | Hammer head
|  | 02.30.09 | Femoral reposition hook
|  | 02.55.01 | Anteversion template 25 degree
|  | 02.60.01 | Positioner set for the operating table
|  | 02.84.01 | Head / Neck separator
| Elevators & Retractors | 02.30.19 | Hattspoon L 230 mm 17x30 mm scoop
|  | 02.30.16 | Hohmann retractor 12 mm L 250 mm 4 teeth
|  | 02.30.17 | Hohmann retractor 20 mm L 250 mm 6 teeth
|  | 02.30.18 | FingerMeyerding retractor L 180 mm 25x5 mm
| Organization | 02.40.01 | Tray / A reamer
|  | 02.40.02 | Tray / B drillguide
|  | 02.40.03 | Tray / C auxiliaries
|  | 02.40.08 | Tray / trials
|  | 02.01.01 | Instrument tray / Acetabular reamer
|  | 82.10.01 | KSS Lid for tray / for instruments
|  | 80.00.01 | Lid / blue, container
|  | 80.00.02 | Lid / silver, container
|  | 80.00.03 | Lid / gold, container
|  | 80.00.04 | Lid / green, container
|  | 80.00.05 | Lid / red, container
|  | 80.01.01 | Bottom / 30 mm single height container
|  | 80.01.02 | Bottom / 57 mm double height container
|  | 80.02.01 | Permanent filter / for container
Instruments | Total (Instruments) |  |  | 0
Juvenile Pubic Symphysiodesis
JPS | Staples | 27.10.08 | JPS Staples / 8
|  | 27.10.10 | JPS Staples / 10
|  | 27.10.12 | JPS Staples / 12
|  | 27.10.14 | JPS Staples / 14
|  | 27.10.16 | JPS Staples / 16
| Instrument | 28.10.00 | JPS Drillguide
0 | Total (0) |  |  | 0
Customer Information
| Account Nr.: |  |  | Date:
Name:
Clinic:
Contact (tel / @):
Shipping:
Notes: